Application Form for Product Introduction Test of PV Module

RETS ID: Capacity: Wp

To

The General Manager

RETS, Khumaltar

We would like to inform you that we have imported / manufactured some samples of PV module. The detail information of the sample is provided in the reception form (Technical details) attached herewith. We have submitted three samples of each model of PV module for testing the products under Product Introduction Test category according to NEPQA-2025.

We have provided the following documents.

- Duly filled Reception form and Undertaking of IEC Certificate

- IEC61215-1-2:2021 part 1-2, IEC61730-1-2:2016 Part 1&2 certificates of PV module certified by CBTL or RETL or NCB or RECB and enlisted in IECEE or IECRE and must have scope of PV Module testing for IEC61215 & IEC 61730

- IEC62804-1:2015, IEC61701:2020, IEC62716;2013 certificates for PV module above 350Wp

- Warranty of PV module provided by the principal manufacturer in their letter head

- Catalogue and technical datasheet of PV Module

- Others: ……………………………………………

We hereby take the ownership of all the above mentioned documents and assure that they are genuine and authentic. We also assure that all the products imported/manufactured by us meet the prevailing NEPQA standard. Therefore, regarding the quality of the products and authenticity of the documents we take full responsibility and if any discrepancy noticed at any point of time we will immediately replace the product at our own cost and bear all legal action and consequences whatsoever. We will collect the product submitted for testing at the time of report collection; however, if we fail to collect the product within a period of one year from the date of submission, we agree and grant permission to RETS to manage or dispose of the product at its discretion, and RETS shall not be held liable.

Thanks for your cooperation

Name:									Company Name:

Designation:								Stamp:

Signature:								Date: