Reception Form for Testing of PV Module

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing Address: |
|  | Email : |
|  | Website: |
| Local Supplier (who bring) |  |
| Local Supplier’s Address | Mailing: |
|  | Email: |
|  | Tel / Mobile: |
|  | Contact Person: |
| Manufactured | Locally assembled with CKD and SKD parts imported Imported from Locally purchased from |
| Brand / Model |  |
| Serial Numbers |  |
| Details of Module | Module dimension: mm x mm x mm Type of Module: Crystalline Thin Film Type of Generation: Mono-Facial Bi-Facial Module Efficiency: % Fill Factor: % |
| Details of Cell/s | Cell dimension: mm x mm Number of Cells: Type of Cells: Cell Efficiency: % |
| Generation Details of PV Module | Nominal Power ……….. Wp |
|  | Short Circuit Current (Isc)……….. A |
|  | Open Circuit Voltage (Voc)……….. V |
|  | Current at MPP (Imp)………… A |
|  | Voltage at MPP (Vmp)……….. V |
| Type of Frame |  |
| Inbuilt Bypass Diode | Yes No |
| Junction Box and PV Connector | Junction box (must have at least IP 65 protection according to IEC 60529) PV Connector (must comply with IEC 62852 and at least IP67 protection according to IEC 60529) |
| Warranty Period of PV Module up to 150 Wp | 10 years: ≥ 90% of STC Power 25 years: ≥ 80% of STC Power |
| Warranty Period of PV Module above 150 Wp | first year: ≥ 97% of STC power 10 years: ≥ 90% of STC Power 25 years: ≥ 80% of STC Power and linear warranty ≤ 0.8% per year from year 2 and onwards |
| Additional description (if any) |  |
| International Standards fulfilled (IEC, ISO, Others) | IEC 61215-2:2021 Part 1&2, IEC 61730-1&2:2016 IEC 62804-1:2015, IEC 61701:2020, IEC 62716:2013 ISO……………… Other:…………….. |

Name:							             Company Stamp:

Designation:

Signature						              Date: