Reception Form for Testing of Charge Controller

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing: |
|  | Contact Person: |
|  | Email: |
|  | Website: |
| Local Supplier |  |
| Local Supplier's Address | Mailing: |
|  | Email: |
|  | Tel / Mobile: |
|  | Contact Person: |
| Manufactured | Locally manufactured Locally assembled with CKD and SKD parts imported Imported from |
| Brand / Model |  |
| Serial numbers |  |
| Switching device | Electromagnetic Semiconductor |
| Type of PCB used | Glass Epoxy Metal Core PCB |
| Efficiency of Inbuilt Mobile phone charger (SMPS type) | % (Compulsory for charge controller up to 10A) |
| Mode of operation | PWM MPPT Other: |
| Diming Function (Only for street light controller) | Yes (1st stage.…Hour, 2nd stage.…Hour, 3rd stage….Hour, 4th stage…..Hour) No |
| Type of battery to be used | Li-Ion Lead-Acid Ni- MH Others |
| Maximum charging / load current | A / A |
| Efficiency of charge controller | % |
| Quiescent current consumption | mA @ V |
| Low Voltage Disconnection and Reconnection Point (for lead-acid batteries) | LVD at: V ± % LVR at: V ± % |
| High Voltage Disconnection | HVD at: V ± % |
| PV Voltage Range (for MPPT) | From ………V To ……… V |
| Maximum Rating (for MPPT) | W, A |
| Adjustment of set points | Fixed Adjustable (Programmable) |
| Protection against | Reverse polarity on PV side Surge on PV side Short circuit on Load Over current on load side Reverse polarity on Battery side Other: |
| Operating temperature | Minimum: °C Maximum: °C |
| Temperature compensation | Yes ( mV per °C) No |
| Application | Indoor only Indoor and outdoor |
| IP rating of enclosure according to IEC60529 | IP 20 Others |
| Additional description |  |
| International Standards fulfilled (IEC, ISO, Others) |  |

Name:								 Company Stamp:

Designation:

Signature:							Date: