Reception Form PIT & RST; Integrated SPV System (<5Wp)

1.1 Reception Form of PV Module for Integrated SPV System (<5Wp)

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing Address: |
|  | Email : |
|  | Website: |
| Local Supplier (who bring) |  |
| Local Supplier’s Address | Mailing: |
|  | Email: |
|  | Tel / Mobile: |
|  | Contact Person: |
| Manufactured | Locally assembled with CKD and SKD parts imported Imported from Locally purchased from |
| Brand / Model |  |
| Serial Numbers |  |
| Details of Module | Module dimension: mm x mm x mm Type of Module: Crystalline Thin Film Type of Generation: Mono-Facial Bi-Facial Module Efficiency: % Fill Factor: % |
| Details of Cell/s | Cell dimension: mm x mm Number of Cells: Type of Cells: Cell Efficiency: % |
| Generation Details of PV Module | Nominal Power ……….. Wp |
|  | Short Circuit Current (Isc)……….. A |
|  | Open Circuit Voltage (Voc)……….. V |
|  | Current at MPP (Imp)………… A |
|  | Voltage at MPP (Vmp)……….. V |
| Type of Frame |  |
| Inbuilt Bypass Diode | Yes No |
| Junction Box and PV Connector (if applicable) | Junction box (at least IP 65 protection according to IEC 60529) PV Connector (comply with IEC 62852 and at least IP67 protection according to IEC 60529) |
| Warranty Period of PV Module up to 150 Wp | 10 years: ≥ 90% of STC Power 25 years: ≥ 80% of STC Power |
| Warranty Period of PV Module above 150 Wp | first year: ≥ 97% of STC power 10 years: ≥ 90% of STC Power 25 years: ≥ 80% of STC Power and linear warranty ≤ 0.8% per year from year 2 and onwards |
| Additional description (if any) |  |
| International Standards fulfilled (IEC, ISO, Others) | IEC 61215-2:2021 Part 1&2, IEC 61730-1&2:2016 IEC 62804-1:2015, IEC 61701:2020, IEC 62716:2013 ISO……………… Other:…………….. |

1.2 Reception Form of Battery with control circuit for Integrated SPV System (<5Wp)

| Manufacturer’s Name |  |
| --- | --- |
| Manufacturer’s Address | Mailing: |
|  | Email: |
|  | Website: |
| Local Supplier |  |
| Local Supplier's Address | Mailing: |
|  | Email: |
|  | Tel / Mobile: |
|  | Contact Person: |
| Manufactured | Locally manufactured Locally assembled with CKD and SKD parts imported Imported from Locally purchased from |
| Brand / Model |  |
| Serial numbers |  |
| Battery type | Vented (Flooded) Tubular Plate VRLA Tubular Plate Li-Ion (LiFePO4, ………) AGM Others……… |
| Nominal capacity | Ah @ C…….@ …….°C Tolerance: ± Ah or ± % |
| Battery Voltage (@100% SOC) | 14.6 V 15.6 V Other: V |
| Specific gravity of electrolyte corresponding to 100% SOC | 1.240 1.250 1.260 1.270 1.280 Other: |
| Operating temperature | Minimum: °C Maximum: °C |
| Battery Voltage (@100% DOD) | 8.5 V 10.5 V Other: V |
| Temperature coefficient of variation of capacity | 0.6 %/°C 0.8 %/°C 0.4 %/°C Other: %/°C |
| Charge/Discharge Efficiency (%) | % @ …….°C |
| Electrolyte Level Indicator | Yes No Not Applicable |
| Amount of electrolyte | Liters/Cell (if Applicable) |
| Protection Included on Battery Management System (BMS) for Li-Ion Battery | Cell Level: Voltage Current Temp. As a Whole: Thermal Runaway Over Charging Over Discharging Others………. |
| Protection against short circuit | Battery box Terminal Isolators Other: |
| Need of Maintenance | Maintenance required Maintenance free |
| Performance guarantee in cycles | 80% depth of discharge: cycles @ ......°C |
| Additional description | Positive plate: Negative plate: Separator: Terminal Post: |
| International test certificates | Yes (Specify: ) No |
| International Standards fulfilled (IEC, ISO, Others) | IEC (61427-1:2013, 60896-21:2004, 60896-22:2004, 61427-2:2015, 60896-11:2002, 62619:2022) ISO: Others: |
| Voltage Regulation Points | LVD: |
|  | HVD: |

1.3 Reception Form of LED Lamp for Integrated SPV System (<5Wp)

| Manufacturer’s Name (Lamp) |  |
| --- | --- |
| Manufacturer’s Address | Mailing: |
|  | Email: |
|  | Website: |
| Local Supplier |  |
| Local Supplier’s Address | Mailing: |
|  | Email: |
|  | Tel / Mobile: |
|  | Contact Person: |
| Manufactured | Locally manufactured Locally assembled with CKD and SKD parts imported Imported from Locally purchased from |
| Brand / Model (Lamp) | / |
| Brand / Model (LED) | / |
| Serial numbers of Lamp |  |
| Lamp Type | Panel Bulb Tube-Light Others |
| Nominal power of the lamp | W, Tolerance: ± % |
| THD (for AC type) | % |
| Power Factor (pf) (for AC type) |  |
| Operating Voltage Range | Minimum: V Maximum: V |
| Fixture Type | E22 E27 2-Pin Tube 4-Pin Tube |
| Protection against | High Voltage High Temperature Others: |
| Day/Night Sensor Function | Found Not-Found |
| Separate SPD (if applicable) | kV (for AC type) |
| Diming Function | Yes (1st stage….Hour, 2nd stage…..Hour, 3rd stage .…. Hour, 4th stage…..Hour, 5th stage…..Hour) No |
| Inbuilt Surge Handling Capacity | kV (for AC type) |
| Luminous Yield of Lamp | Lumens Tolerance: ± % LPW |
| Luminous Efficacy of single LED | Lumens Tolerance: ± % LPW |
| Viewing Angle | : Degree |
| CRI Index / Colour Temperature | : Ra : °Kelvin |
| Forward Voltage / Test Current of LED | : V : mA |
| LED Driver Circuit Efficiency | % |
| Operating temperature | Minimum: °C Maximum: °C |
| Application | Indoor only Indoor and outdoor |
| Operation Life | Hour |
| Total Number of LED Used | PCs |
| IP Protection of Lamp | IP |
| International Standards fulfilled (IEC, ISO, Others) |  |